## Result sheet
Method name: Method 1
Application: SparkControl |  |  |  | V3.0
Device: Spark 10M |  |  |  | Serial number: 1612002472
Firmware: |  |  |  | ABS:V4.2.10¦ABS_MEX:V5.0.4¦MTP:V11.0.2¦FLUOR:V5.0.8¦FLUOR_FP:V5.0.2¦FLUOR_MEM:V5.0.4¦FLUOR_MEX:V5.0.4
Date: |  |  |  | 2022-09-01
Time: |  |  |  | 4:56 PM
System |  |  |  | DESKTOP-DNTAMQ3
User |  |  |  | DESKTOP-DNTAMQ3\Aihara Lab
Plate |  |  |  | [GRE96fb_chimney] - Greiner 96 Flat Black Cat. No.: 655079/655086/655077/655076
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Shaking
Temperature
Kinetic
|  | Fluorescence Top Reading |  |  |  | Label 1
Name |  |  |  | GRE96fb_chimney
Plate layout
Plate area |  |  |  | A1-D9
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | None | None | None | None | None | None | None | None | None | None | None | None
B | None | None | None | None | None | None | None | None | None | None | None | None
C | None | None | None | None | None | None | None | None | None | None | None | None
D | None | None | None | None | None | None | None | None | None | None | None | None
E | None | None | None | None | None | None | None | None | None | None | None | None
F | None | None | None | None | None | None | None | None | None | None | None | None
G | None | None | None | None | None | None | None | None | None | None | None | None
H | None | None | None | None | None | None | None | None | None | None | None | None
Start Time |  |  |  | 2022-09-01 15:56:23
Shaking (Linear) Duration [s] |  |  |  | 5
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2022-09-01 15:56:28
Start Time |  |  |  | 2022-09-01 15:56:28
Temperature control |  |  |  | On
Target temperature [°C] |  |  |  | 25
End Time |  |  |  | 2022-09-01 15:56:28
Mode | Kinetic
Kinetic cycles |  |  |  | 60
Interval time [hhmmss] |  |  |  | 00:01:00
Mode | Fluorescence Top Reading
Name | Label 1
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 350
Excitation bandwidth [nm] |  |  |  | 20
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 490
Emission bandwidth [nm] |  |  |  | 20
Gain Calculated From: A9 (50%) |  |  |  | 71
Mirror |  |  |  | AUTOMATIC
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 15464
Z-Position mode A9 |  |  |  | From well
Part of Plate |  |  |  | A1-D9
Start Time |  |  |  | 2022-09-01 15:57:00
Label 1
Cycle Nr. | Time [s] | Temp. [°C] | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9
1 | 0 | 25 | 224 | 218 | 192 | 123 | 109 | 103 | 92 | 96 | 26028 | 197 | 206 | 153 | 90 | 106 | 99 | 98 | 95 | 28979 | 124 | 140 | 174 | 135 | 156 | 99 | 94 | 85 | 28782 | 142 | 141 | 123 | 116 | 110 | 104 | 106 | 104 | 28470
2 | 60.013 | 25 | 287 | 275 | 212 | 133 | 111 | 102 | 94 | 103 | 25725 | 256 | 265 | 188 | 96 | 107 | 102 | 101 | 96 | 29053 | 140 | 158 | 187 | 152 | 166 | 106 | 97 | 84 | 28834 | 158 | 156 | 136 | 125 | 119 | 108 | 108 | 106 | 28489
3 | 120.014 | 25.1 | 354 | 340 | 253 | 136 | 112 | 106 | 94 | 103 | 25171 | 317 | 325 | 223 | 98 | 108 | 102 | 99 | 97 | 29133 | 158 | 171 | 204 | 163 | 174 | 108 | 98 | 86 | 28553 | 176 | 176 | 149 | 136 | 128 | 113 | 111 | 106 | 28582
4 | 180.015 | 25 | 420 | 402 | 298 | 139 | 112 | 103 | 95 | 99 | 24840 | 376 | 388 | 256 | 101 | 107 | 103 | 100 | 97 | 29005 | 173 | 187 | 223 | 172 | 184 | 111 | 98 | 86 | 29076 | 194 | 191 | 162 | 151 | 132 | 116 | 111 | 107 | 28633
5 | 240.025 | 25.2 | 485 | 459 | 332 | 143 | 113 | 105 | 95 | 100 | 24392 | 435 | 447 | 289 | 105 | 109 | 101 | 102 | 102 | 28971 | 191 | 206 | 241 | 187 | 195 | 116 | 100 | 86 | 29045 | 213 | 212 | 177 | 159 | 142 | 119 | 113 | 105 | 28601
6 | 300.03 | 25.1 | 546 | 522 | 375 | 151 | 116 | 106 | 94 | 100 | 23915 | 491 | 508 | 325 | 111 | 111 | 105 | 102 | 98 | 29017 | 206 | 222 | 263 | 204 | 205 | 118 | 102 | 87 | 29154 | 232 | 228 | 193 | 172 | 154 | 123 | 113 | 108 | 28767
7 | 360.033 | 24.9 | 602 | 572 | 423 | 157 | 118 | 106 | 96 | 103 | 23686 | 544 | 562 | 363 | 114 | 111 | 103 | 98 | 100 | 28958 | 223 | 241 | 279 | 211 | 217 | 121 | 104 | 88 | 29010 | 251 | 246 | 207 | 183 | 161 | 126 | 115 | 107 | 28468
8 | 420.04 | 25.2 | 661 | 633 | 465 | 162 | 118 | 107 | 96 | 99 | 23268 | 597 | 629 | 398 | 121 | 110 | 102 | 101 | 101 | 28985 | 239 | 261 | 296 | 227 | 228 | 127 | 104 | 88 | 28903 | 266 | 267 | 223 | 197 | 166 | 132 | 117 | 109 | 28527
9 | 480.044 | 25.1 | 707 | 681 | 513 | 167 | 118 | 105 | 95 | 102 | 23056 | 645 | 678 | 434 | 123 | 112 | 106 | 103 | 102 | 28956 | 257 | 276 | 318 | 244 | 238 | 129 | 104 | 88 | 28829 | 288 | 282 | 236 | 207 | 176 | 133 | 118 | 108 | 28514
10 | 540.057 | 25 | 758 | 730 | 554 | 173 | 120 | 107 | 95 | 99 | 22983 | 688 | 724 | 465 | 129 | 113 | 105 | 105 | 100 | 28855 | 270 | 295 | 338 | 255 | 254 | 133 | 106 | 89 | 28699 | 306 | 303 | 253 | 223 | 185 | 141 | 119 | 111 | 28437
11 | 600.057 | 25.2 | 806 | 772 | 593 | 180 | 121 | 111 | 96 | 99 | 22886 | 724 | 770 | 500 | 134 | 113 | 104 | 102 | 101 | 28859 | 288 | 312 | 358 | 269 | 259 | 136 | 108 | 92 | 28708 | 324 | 321 | 270 | 235 | 194 | 141 | 122 | 105 | 28552
12 | 660.073 | 25.1 | 839 | 814 | 636 | 187 | 123 | 109 | 96 | 102 | 22631 | 766 | 809 | 532 | 137 | 112 | 106 | 106 | 101 | 28786 | 301 | 330 | 374 | 281 | 273 | 140 | 112 | 90 | 28639 | 345 | 338 | 283 | 245 | 201 | 146 | 122 | 109 | 28564
13 | 720.086 | 25 | 879 | 854 | 682 | 194 | 129 | 109 | 100 | 99 | 22535 | 799 | 859 | 565 | 142 | 116 | 105 | 101 | 100 | 28780 | 322 | 349 | 396 | 295 | 288 | 146 | 112 | 90 | 28538 | 359 | 354 | 299 | 262 | 212 | 150 | 125 | 112 | 28530
14 | 780.098 | 25.1 | 911 | 890 | 715 | 200 | 128 | 113 | 97 | 99 | 22409 | 822 | 897 | 598 | 147 | 116 | 108 | 104 | 101 | 28758 | 337 | 363 | 411 | 310 | 295 | 147 | 112 | 91 | 28692 | 378 | 372 | 311 | 266 | 218 | 155 | 124 | 111 | 28512
15 | 840.098 | 24.9 | 942 | 923 | 753 | 208 | 126 | 111 | 97 | 102 | 22301 | 856 | 922 | 627 | 153 | 120 | 107 | 102 | 102 | 28755 | 349 | 381 | 432 | 325 | 306 | 152 | 114 | 90 | 28808 | 399 | 393 | 326 | 281 | 230 | 161 | 129 | 107 | 28524
16 | 900.106 | 25.2 | 961 | 955 | 794 | 214 | 129 | 112 | 96 | 103 | 22231 | 880 | 960 | 650 | 157 | 120 | 108 | 106 | 102 | 28605 | 369 | 395 | 450 | 337 | 318 | 155 | 117 | 92 | 28661 | 415 | 409 | 339 | 292 | 233 | 161 | 127 | 112 | 28427
17 | 960.109 | 25.1 | 985 | 986 | 825 | 222 | 130 | 111 | 99 | 103 | 22051 | 907 | 982 | 678 | 162 | 120 | 105 | 107 | 106 | 28657 | 383 | 412 | 465 | 347 | 329 | 160 | 118 | 92 | 28662 | 431 | 430 | 349 | 308 | 245 | 167 | 129 | 110 | 28621
18 | 1020.113 | 25 | 1005 | 1004 | 854 | 225 | 128 | 119 | 95 | 100 | 21989 | 927 | 1012 | 704 | 165 | 122 | 107 | 103 | 106 | 28575 | 397 | 429 | 488 | 360 | 340 | 165 | 117 | 93 | 28533 | 450 | 438 | 365 | 311 | 254 | 171 | 132 | 108 | 28479
19 | 1080.122 | 25 | 1020 | 1028 | 889 | 234 | 131 | 114 | 100 | 106 | 22009 | 936 | 1038 | 736 | 172 | 122 | 107 | 112 | 106 | 28753 | 414 | 442 | 503 | 375 | 350 | 167 | 120 | 91 | 28510 | 465 | 457 | 379 | 328 | 261 | 176 | 130 | 113 | 28395
20 | 1140.126 | 25.1 | 1039 | 1050 | 916 | 239 | 135 | 114 | 99 | 105 | 22014 | 958 | 1066 | 763 | 174 | 126 | 109 | 105 | 107 | 28788 | 425 | 465 | 524 | 387 | 361 | 171 | 119 | 93 | 28558 | 485 | 476 | 392 | 336 | 266 | 177 | 132 | 111 | 28469
21 | 1200.137 | 25 | 1056 | 1067 | 945 | 245 | 136 | 114 | 100 | 100 | 21930 | 975 | 1081 | 782 | 179 | 127 | 109 | 106 | 108 | 28693 | 443 | 477 | 541 | 399 | 372 | 174 | 121 | 93 | 28641 | 495 | 492 | 403 | 355 | 280 | 181 | 134 | 113 | 28362
22 | 1260.144 | 25.2 | 1072 | 1083 | 978 | 253 | 137 | 111 | 98 | 104 | 21861 | 993 | 1097 | 806 | 184 | 127 | 107 | 105 | 104 | 28632 | 454 | 492 | 554 | 416 | 384 | 180 | 124 | 94 | 28537 | 514 | 506 | 418 | 358 | 284 | 187 | 139 | 110 | 28389
23 | 1320.147 | 25.2 | 1080 | 1095 | 990 | 257 | 137 | 114 | 100 | 103 | 21664 | 1003 | 1120 | 825 | 192 | 125 | 110 | 100 | 103 | 28557 | 469 | 508 | 573 | 424 | 392 | 182 | 124 | 93 | 28705 | 529 | 522 | 430 | 372 | 293 | 191 | 136 | 115 | 28492
24 | 1380.159 | 25.1 | 1096 | 1114 | 1023 | 265 | 139 | 114 | 97 | 99 | 21720 | 1003 | 1131 | 840 | 192 | 127 | 106 | 103 | 108 | 28638 | 484 | 520 | 589 | 437 | 404 | 184 | 124 | 94 | 28578 | 541 | 537 | 446 | 376 | 297 | 192 | 139 | 110 | 28318
25 | 1440.173 | 25 | 1099 | 1126 | 1041 | 268 | 138 | 112 | 96 | 100 | 21679 | 1018 | 1148 | 860 | 198 | 131 | 107 | 102 | 102 | 28543 | 497 | 539 | 606 | 449 | 416 | 189 | 125 | 95 | 28462 | 556 | 549 | 457 | 391 | 305 | 197 | 141 | 111 | 28249
26 | 1500.185 | 25 | 1109 | 1134 | 1065 | 277 | 141 | 112 | 97 | 98 | 21682 | 1021 | 1152 | 879 | 201 | 129 | 109 | 105 | 104 | 28519 | 509 | 549 | 621 | 457 | 422 | 191 | 127 | 92 | 28582 | 568 | 567 | 468 | 397 | 314 | 199 | 141 | 113 | 28404
27 | 1560.192 | 25.1 | 1116 | 1143 | 1090 | 285 | 142 | 115 | 97 | 100 | 21565 | 1036 | 1172 | 900 | 207 | 131 | 113 | 104 | 109 | 28504 | 522 | 565 | 635 | 472 | 435 | 198 | 128 | 93 | 28611 | 589 | 583 | 480 | 412 | 321 | 206 | 144 | 112 | 28365
28 | 1620.202 | 25 | 1122 | 1152 | 1106 | 289 | 142 | 115 | 98 | 106 | 21515 | 1032 | 1176 | 908 | 214 | 135 | 111 | 101 | 103 | 28416 | 530 | 578 | 647 | 485 | 445 | 199 | 130 | 96 | 28564 | 602 | 594 | 495 | 417 | 326 | 209 | 145 | 113 | 28423
29 | 1680.214 | 25.1 | 1127 | 1162 | 1123 | 295 | 147 | 116 | 96 | 106 | 21561 | 1038 | 1191 | 931 | 216 | 133 | 110 | 101 | 108 | 28453 | 546 | 595 | 666 | 494 | 450 | 204 | 131 | 95 | 28681 | 619 | 606 | 503 | 429 | 337 | 212 | 145 | 114 | 28195
30 | 1740.215 | 25.1 | 1132 | 1167 | 1143 | 306 | 147 | 116 | 97 | 103 | 21540 | 1048 | 1201 | 940 | 220 | 135 | 110 | 102 | 106 | 28478 | 557 | 605 | 682 | 503 | 462 | 206 | 135 | 95 | 28380 | 629 | 622 | 515 | 440 | 343 | 218 | 145 | 113 | 28257
31 | 1800.23 | 25 | 1136 | 1172 | 1160 | 304 | 148 | 114 | 96 | 102 | 21459 | 1049 | 1202 | 953 | 226 | 133 | 107 | 105 | 106 | 28473 | 575 | 617 | 701 | 515 | 469 | 213 | 132 | 96 | 28489 | 643 | 641 | 525 | 450 | 348 | 218 | 146 | 112 | 28152
32 | 1860.243 | 25 | 1141 | 1178 | 1181 | 311 | 145 | 113 | 95 | 102 | 21352 | 1052 | 1212 | 965 | 230 | 136 | 109 | 102 | 105 | 28458 | 585 | 633 | 713 | 529 | 481 | 215 | 134 | 94 | 28459 | 654 | 653 | 536 | 463 | 363 | 223 | 148 | 113 | 28271
33 | 1920.262 | 25.1 | 1143 | 1190 | 1192 | 323 | 150 | 120 | 96 | 105 | 21435 | 1066 | 1214 | 983 | 231 | 135 | 108 | 103 | 107 | 28328 | 587 | 640 | 726 | 541 | 493 | 217 | 135 | 96 | 28299 | 668 | 658 | 549 | 468 | 365 | 228 | 150 | 117 | 28140
34 | 1980.278 | 25 | 1139 | 1195 | 1203 | 323 | 150 | 116 | 98 | 100 | 21344 | 1059 | 1221 | 995 | 238 | 136 | 110 | 102 | 107 | 28524 | 604 | 652 | 745 | 546 | 499 | 224 | 137 | 97 | 28574 | 684 | 675 | 560 | 472 | 371 | 233 | 151 | 116 | 28235
35 | 2040.281 | 25.2 | 1149 | 1192 | 1214 | 329 | 155 | 120 | 97 | 101 | 21398 | 1067 | 1226 | 1003 | 241 | 139 | 110 | 105 | 107 | 28590 | 618 | 670 | 755 | 557 | 511 | 224 | 137 | 96 | 28245 | 691 | 696 | 567 | 486 | 384 | 235 | 152 | 117 | 28245
36 | 2100.288 | 25.2 | 1151 | 1198 | 1239 | 338 | 152 | 116 | 98 | 100 | 21479 | 1068 | 1240 | 1016 | 244 | 140 | 110 | 102 | 106 | 28547 | 630 | 687 | 774 | 567 | 519 | 226 | 142 | 97 | 28431 | 714 | 700 | 575 | 497 | 387 | 238 | 155 | 113 | 28078
37 | 2160.298 | 25.1 | 1150 | 1202 | 1249 | 344 | 155 | 115 | 95 | 103 | 21392 | 1069 | 1236 | 1023 | 247 | 141 | 113 | 105 | 107 | 28472 | 639 | 694 | 784 | 580 | 532 | 233 | 140 | 97 | 28296 | 724 | 706 | 592 | 505 | 395 | 241 | 152 | 115 | 28072
38 | 2220.305 | 25 | 1155 | 1204 | 1253 | 349 | 156 | 117 | 99 | 100 | 21219 | 1071 | 1240 | 1031 | 253 | 140 | 112 | 102 | 106 | 28325 | 645 | 707 | 794 | 590 | 540 | 233 | 145 | 97 | 28304 | 729 | 721 | 596 | 511 | 400 | 245 | 155 | 118 | 28038
39 | 2280.306 | 25 | 1151 | 1209 | 1269 | 350 | 154 | 116 | 97 | 101 | 21289 | 1067 | 1238 | 1043 | 256 | 143 | 109 | 102 | 102 | 28458 | 660 | 718 | 814 | 595 | 545 | 236 | 145 | 97 | 28426 | 746 | 737 | 609 | 522 | 406 | 249 | 156 | 113 | 28090
40 | 2340.322 | 25.1 | 1149 | 1206 | 1277 | 359 | 156 | 115 | 97 | 105 | 21246 | 1064 | 1250 | 1054 | 262 | 144 | 112 | 102 | 106 | 28429 | 666 | 735 | 829 | 607 | 559 | 240 | 145 | 98 | 28306 | 757 | 753 | 616 | 530 | 414 | 254 | 159 | 115 | 27898
41 | 2400.335 | 25 | 1149 | 1214 | 1290 | 366 | 157 | 115 | 99 | 100 | 21237 | 1072 | 1242 | 1063 | 266 | 142 | 112 | 102 | 105 | 28431 | 680 | 739 | 838 | 617 | 568 | 244 | 145 | 97 | 28233 | 769 | 764 | 629 | 540 | 419 | 255 | 162 | 115 | 27914
42 | 2460.345 | 25.1 | 1155 | 1205 | 1300 | 373 | 159 | 117 | 97 | 101 | 21166 | 1071 | 1255 | 1071 | 270 | 145 | 111 | 101 | 104 | 28370 | 689 | 758 | 851 | 631 | 577 | 247 | 148 | 98 | 28459 | 780 | 775 | 645 | 544 | 425 | 260 | 163 | 119 | 28122
43 | 2520.347 | 25.2 | 1147 | 1216 | 1308 | 374 | 168 | 116 | 96 | 103 | 21180 | 1075 | 1250 | 1071 | 274 | 149 | 113 | 104 | 106 | 28379 | 696 | 769 | 863 | 644 | 581 | 251 | 148 | 99 | 28487 | 795 | 778 | 643 | 556 | 432 | 261 | 168 | 118 | 28064
44 | 2580.363 | 25.1 | 1146 | 1211 | 1315 | 382 | 161 | 122 | 97 | 105 | 21170 | 1063 | 1252 | 1083 | 275 | 146 | 113 | 101 | 106 | 28317 | 709 | 771 | 875 | 644 | 593 | 253 | 148 | 98 | 28466 | 799 | 795 | 654 | 564 | 441 | 263 | 163 | 119 | 27946
45 | 2640.365 | 25 | 1144 | 1214 | 1323 | 382 | 162 | 118 | 96 | 100 | 21275 | 1065 | 1249 | 1084 | 281 | 148 | 110 | 103 | 107 | 28129 | 717 | 784 | 890 | 659 | 600 | 259 | 149 | 99 | 28280 | 814 | 807 | 659 | 568 | 443 | 269 | 165 | 117 | 28025
46 | 2700.366 | 25.1 | 1147 | 1213 | 1328 | 389 | 167 | 120 | 96 | 102 | 21252 | 1071 | 1257 | 1094 | 285 | 150 | 112 | 102 | 105 | 28319 | 723 | 798 | 904 | 672 | 607 | 260 | 151 | 97 | 28158 | 829 | 811 | 674 | 578 | 452 | 272 | 167 | 117 | 28004
47 | 2760.37 | 25.2 | 1140 | 1216 | 1332 | 397 | 162 | 118 | 96 | 98 | 21208 | 1067 | 1246 | 1097 | 291 | 149 | 114 | 103 | 105 | 28327 | 727 | 799 | 909 | 671 | 613 | 263 | 152 | 98 | 28173 | 826 | 823 | 680 | 587 | 454 | 275 | 165 | 114 | 27982
48 | 2820.376 | 25.1 | 1145 | 1209 | 1337 | 404 | 165 | 115 | 96 | 103 | 21198 | 1069 | 1253 | 1099 | 292 | 151 | 112 | 101 | 106 | 28294 | 738 | 818 | 921 | 677 | 623 | 264 | 154 | 100 | 28233 | 845 | 834 | 689 | 594 | 462 | 276 | 168 | 117 | 27917
49 | 2880.376 | 25.1 | 1143 | 1204 | 1347 | 403 | 168 | 118 | 94 | 98 | 21133 | 1067 | 1247 | 1112 | 295 | 151 | 113 | 100 | 103 | 28309 | 747 | 823 | 933 | 688 | 626 | 271 | 154 | 100 | 28261 | 847 | 840 | 700 | 599 | 471 | 277 | 170 | 119 | 27971
50 | 2940.378 | 25 | 1142 | 1206 | 1354 | 410 | 171 | 118 | 95 | 100 | 21182 | 1072 | 1253 | 1118 | 298 | 153 | 114 | 100 | 107 | 28221 | 759 | 833 | 947 | 696 | 639 | 275 | 156 | 99 | 28286 | 860 | 853 | 706 | 609 | 473 | 284 | 173 | 112 | 27972
51 | 3000.39 | 25.1 | 1139 | 1211 | 1362 | 418 | 170 | 121 | 97 | 98 | 21254 | 1070 | 1252 | 1114 | 305 | 155 | 112 | 108 | 108 | 28256 | 766 | 843 | 958 | 705 | 645 | 278 | 159 | 100 | 28216 | 873 | 870 | 713 | 614 | 483 | 289 | 173 | 120 | 27947
52 | 3060.394 | 25 | 1141 | 1209 | 1355 | 420 | 173 | 119 | 98 | 97 | 21246 | 1062 | 1257 | 1121 | 308 | 155 | 114 | 104 | 105 | 28236 | 775 | 853 | 968 | 712 | 656 | 281 | 158 | 101 | 28303 | 871 | 871 | 719 | 621 | 488 | 288 | 173 | 117 | 28002
53 | 3120.407 | 25 | 1137 | 1209 | 1364 | 431 | 172 | 117 | 95 | 98 | 21184 | 1065 | 1251 | 1120 | 311 | 156 | 114 | 102 | 108 | 28291 | 782 | 866 | 975 | 720 | 665 | 281 | 158 | 99 | 28271 | 888 | 882 | 734 | 628 | 492 | 295 | 174 | 117 | 27997
54 | 3180.407 | 25.2 | 1134 | 1204 | 1368 | 430 | 175 | 122 | 98 | 99 | 21037 | 1059 | 1248 | 1126 | 314 | 159 | 115 | 103 | 104 | 28149 | 795 | 870 | 991 | 732 | 674 | 285 | 162 | 100 | 28247 | 904 | 888 | 739 | 634 | 499 | 295 | 177 | 118 | 28047
55 | 3240.41 | 25.1 | 1133 | 1208 | 1379 | 434 | 172 | 122 | 97 | 100 | 20993 | 1059 | 1250 | 1134 | 320 | 155 | 113 | 102 | 107 | 28118 | 801 | 874 | 998 | 739 | 678 | 287 | 162 | 101 | 28312 | 910 | 901 | 745 | 647 | 503 | 299 | 175 | 117 | 27875
56 | 3300.41 | 25.1 | 1135 | 1205 | 1376 | 441 | 173 | 119 | 94 | 100 | 21025 | 1057 | 1250 | 1136 | 323 | 159 | 113 | 105 | 102 | 28152 | 808 | 889 | 1005 | 751 | 686 | 292 | 162 | 102 | 28001 | 917 | 910 | 752 | 648 | 508 | 305 | 176 | 118 | 27848
57 | 3360.413 | 25 | 1131 | 1197 | 1383 | 444 | 177 | 119 | 96 | 98 | 21092 | 1056 | 1246 | 1136 | 326 | 158 | 114 | 104 | 102 | 28225 | 811 | 902 | 1023 | 753 | 695 | 291 | 161 | 100 | 28158 | 927 | 917 | 760 | 650 | 509 | 306 | 181 | 119 | 28102
58 | 3420.419 | 25.1 | 1124 | 1195 | 1378 | 451 | 173 | 118 | 97 | 97 | 21205 | 1057 | 1248 | 1143 | 329 | 161 | 114 | 103 | 106 | 28306 | 821 | 907 | 1033 | 765 | 700 | 298 | 163 | 103 | 28026 | 937 | 921 | 766 | 660 | 519 | 308 | 179 | 120 | 27946
59 | 3480.428 | 25.2 | 1130 | 1198 | 1383 | 453 | 176 | 119 | 96 | 100 | 21201 | 1056 | 1249 | 1142 | 335 | 161 | 113 | 100 | 100 | 28168 | 821 | 915 | 1046 | 768 | 711 | 303 | 166 | 103 | 28086 | 949 | 927 | 773 | 666 | 524 | 310 | 181 | 117 | 27952
60 | 3540.443 | 25.2 | 1119 | 1202 | 1388 | 460 | 176 | 126 | 96 | 98 | 21225 | 1050 | 1250 | 1145 | 337 | 162 | 116 | 101 | 102 | 28275 | 838 | 918 | 1052 | 773 | 721 | 301 | 168 | 103 | 28243 | 947 | 941 | 777 | 675 | 536 | 313 | 185 | 119 | 28018
End Time |  |  | A2: 2022-09-01 16:56:25