## Result sheet
Method name: Method 1
Application: SparkControl |  |  |  | V3.0
Device: Spark 10M |  |  |  | Serial number: 1612002472
Firmware: |  |  |  | ABS:V4.2.10¦ABS_MEX:V5.0.4¦MTP:V11.0.2¦FLUOR:V5.0.8¦FLUOR_FP:V5.0.2¦FLUOR_MEM:V5.0.4¦FLUOR_MEX:V5.0.4
Date: |  |  |  | 2022-09-06
Time: |  |  |  | 6:06 PM
System |  |  |  | DESKTOP-DNTAMQ3
User |  |  |  | DESKTOP-DNTAMQ3\Aihara Lab
Plate |  |  |  | [GRE96fb_chimney] - Greiner 96 Flat Black Cat. No.: 655079/655086/655077/655076
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Temperature
Shaking
Kinetic
|  | Fluorescence Top Reading |  |  |  | Label 1
Name |  |  |  | GRE96fb_chimney
Plate layout
Plate area |  |  |  | E1-H9
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | None | None | None | None | None | None | None | None | None | None | None | None
B | None | None | None | None | None | None | None | None | None | None | None | None
C | None | None | None | None | None | None | None | None | None | None | None | None
D | None | None | None | None | None | None | None | None | None | None | None | None
E | None | None | None | None | None | None | None | None | None | None | None | None
F | None | None | None | None | None | None | None | None | None | None | None | None
G | None | None | None | None | None | None | None | None | None | None | None | None
H | None | None | None | None | None | None | None | None | None | None | None | None
Start Time |  |  |  | 2022-09-06 17:06:11
Temperature control |  |  |  | On
Target temperature [°C] |  |  |  | 25
End Time |  |  |  | 2022-09-06 17:06:11
Start Time |  |  |  | 2022-09-06 17:06:11
Shaking (Linear) Duration [s] |  |  |  | 5
Shaking (Linear) Position |  |  |  | Current
Shaking (Linear) Amplitude [mm] |  |  |  | 1
Shaking (Linear) Frequency [rpm] |  |  |  | 1440
End Time |  |  |  | 2022-09-06 17:06:16
Mode | Kinetic
Kinetic cycles |  |  |  | 60
Interval time [hhmmss] |  |  |  | 00:01:00
Mode | Fluorescence Top Reading
Name | Label 1
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 350
Excitation bandwidth [nm] |  |  |  | 20
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 490
Emission bandwidth [nm] |  |  |  | 20
Gain Optimal (50%) |  |  |  | 69
Mirror |  |  |  | AUTOMATIC
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 15381
Z-Position mode E9 |  |  |  | From well
Part of Plate |  |  |  | E1-H9
Start Time |  |  |  | 2022-09-06 17:06:49
Label 1
Cycle Nr. | Time [s] | Temp. [°C] | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9
1 | 0 | 25.5 | 163 | 193 | 116 | 92 | 97 | 83 | 73 | 71 | 26148 | 193 | 164 | 109 | 68 | 73 | 72 | 67 | 68 | 24363 | 66 | 67 | 72 | 72 | 70 | 65 | 73 | 72 | 24210 | 70 | 72 | 70 | 77 | 78 | 73 | 72 | 88 | 23311
2 | 60.016 | 25.3 | 217 | 252 | 143 | 97 | 104 | 87 | 74 | 73 | 26260 | 252 | 217 | 134 | 73 | 75 | 72 | 70 | 71 | 24353 | 73 | 74 | 80 | 78 | 75 | 67 | 76 | 73 | 24454 | 77 | 79 | 75 | 86 | 85 | 73 | 74 | 81 | 23466
3 | 120.01 | 25.3 | 264 | 308 | 172 | 101 | 104 | 87 | 75 | 73 | 26424 | 314 | 269 | 160 | 75 | 76 | 72 | 69 | 73 | 24523 | 80 | 81 | 87 | 84 | 81 | 71 | 75 | 75 | 24549 | 85 | 88 | 81 | 92 | 90 | 75 | 76 | 77 | 23662
4 | 180.014 | 25.2 | 311 | 364 | 197 | 108 | 105 | 89 | 77 | 74 | 26422 | 371 | 312 | 186 | 78 | 78 | 74 | 72 | 74 | 24581 | 87 | 87 | 93 | 92 | 82 | 72 | 76 | 76 | 24492 | 93 | 95 | 89 | 100 | 97 | 79 | 77 | 77 | 23589
5 | 240.027 | 25.2 | 355 | 416 | 224 | 112 | 108 | 88 | 75 | 76 | 26185 | 423 | 364 | 212 | 82 | 79 | 75 | 74 | 76 | 24560 | 94 | 94 | 100 | 98 | 88 | 76 | 77 | 76 | 24623 | 100 | 102 | 96 | 106 | 102 | 83 | 78 | 83 | 23736
6 | 300.029 | 25.2 | 400 | 469 | 248 | 117 | 108 | 87 | 77 | 76 | 26253 | 471 | 407 | 235 | 85 | 79 | 74 | 73 | 75 | 24509 | 101 | 100 | 106 | 102 | 94 | 76 | 77 | 75 | 24505 | 107 | 111 | 102 | 111 | 106 | 81 | 80 | 91 | 23678
7 | 360.03 | 25.1 | 440 | 515 | 274 | 121 | 114 | 88 | 76 | 77 | 26514 | 521 | 445 | 258 | 88 | 81 | 73 | 75 | 75 | 24598 | 108 | 107 | 115 | 110 | 97 | 80 | 79 | 77 | 24474 | 118 | 120 | 111 | 117 | 111 | 87 | 80 | 86 | 23647
8 | 420.047 | 25.1 | 472 | 563 | 298 | 126 | 113 | 88 | 77 | 75 | 26397 | 570 | 484 | 283 | 91 | 81 | 76 | 73 | 77 | 24541 | 115 | 116 | 122 | 116 | 103 | 81 | 81 | 76 | 24615 | 124 | 126 | 116 | 125 | 117 | 89 | 79 | 86 | 23638
9 | 480.053 | 25.1 | 507 | 603 | 321 | 131 | 115 | 93 | 79 | 76 | 26540 | 608 | 518 | 304 | 96 | 83 | 76 | 73 | 77 | 24549 | 120 | 120 | 132 | 121 | 107 | 83 | 81 | 78 | 24472 | 128 | 135 | 125 | 132 | 121 | 88 | 80 | 85 | 23748
10 | 540.063 | 25.1 | 539 | 642 | 348 | 137 | 114 | 91 | 77 | 76 | 26492 | 645 | 554 | 327 | 97 | 86 | 74 | 75 | 76 | 24526 | 129 | 127 | 136 | 127 | 112 | 86 | 83 | 78 | 24516 | 136 | 143 | 131 | 139 | 127 | 92 | 82 | 88 | 23743
11 | 600.076 | 25.1 | 569 | 685 | 371 | 141 | 118 | 92 | 75 | 76 | 26355 | 682 | 585 | 349 | 101 | 83 | 76 | 74 | 76 | 24550 | 136 | 136 | 144 | 133 | 114 | 86 | 83 | 77 | 24530 | 145 | 150 | 137 | 144 | 135 | 97 | 85 | 86 | 23668
12 | 660.074 | 25.1 | 592 | 723 | 393 | 147 | 119 | 92 | 77 | 76 | 26447 | 719 | 611 | 370 | 103 | 87 | 77 | 75 | 78 | 24554 | 142 | 141 | 149 | 141 | 119 | 90 | 82 | 76 | 24406 | 152 | 158 | 143 | 151 | 136 | 100 | 86 | 85 | 23713
13 | 720.089 | 25.1 | 615 | 753 | 417 | 151 | 120 | 93 | 76 | 77 | 26336 | 739 | 642 | 394 | 109 | 84 | 76 | 73 | 77 | 24559 | 150 | 148 | 157 | 145 | 124 | 90 | 84 | 78 | 24661 | 161 | 165 | 150 | 159 | 142 | 102 | 82 | 85 | 23708
14 | 780.096 | 25.1 | 633 | 786 | 436 | 156 | 122 | 96 | 79 | 80 | 26449 | 777 | 667 | 408 | 112 | 86 | 76 | 74 | 77 | 24599 | 156 | 154 | 166 | 150 | 126 | 92 | 83 | 79 | 24618 | 167 | 174 | 158 | 165 | 147 | 101 | 86 | 89 | 23767
15 | 840.11 | 25 | 655 | 817 | 458 | 163 | 124 | 93 | 77 | 80 | 26389 | 801 | 688 | 432 | 112 | 86 | 78 | 72 | 76 | 24598 | 161 | 162 | 171 | 156 | 129 | 95 | 83 | 78 | 24646 | 174 | 177 | 164 | 168 | 154 | 105 | 86 | 93 | 23749
16 | 900.113 | 25 | 674 | 845 | 473 | 169 | 123 | 93 | 79 | 81 | 26350 | 819 | 712 | 450 | 118 | 88 | 80 | 75 | 79 | 24661 | 168 | 168 | 177 | 163 | 136 | 97 | 86 | 80 | 24688 | 180 | 185 | 171 | 175 | 156 | 108 | 88 | 87 | 23725
17 | 960.111 | 25 | 686 | 878 | 493 | 173 | 122 | 96 | 79 | 76 | 26457 | 841 | 728 | 466 | 121 | 88 | 79 | 76 | 75 | 24575 | 174 | 174 | 184 | 169 | 140 | 98 | 87 | 82 | 24656 | 187 | 192 | 174 | 183 | 159 | 108 | 88 | 80 | 23628
18 | 1020.117 | 25 | 708 | 891 | 514 | 174 | 127 | 94 | 77 | 75 | 26441 | 858 | 753 | 483 | 124 | 90 | 79 | 75 | 78 | 24457 | 183 | 183 | 191 | 174 | 144 | 101 | 87 | 79 | 24509 | 192 | 198 | 181 | 189 | 168 | 110 | 90 | 78 | 23581
19 | 1080.122 | 25 | 718 | 913 | 529 | 181 | 128 | 94 | 78 | 82 | 26359 | 882 | 767 | 500 | 128 | 92 | 79 | 77 | 77 | 24612 | 186 | 188 | 195 | 181 | 147 | 103 | 88 | 79 | 24568 | 199 | 203 | 189 | 195 | 175 | 112 | 91 | 80 | 23569
20 | 1140.123 | 25 | 733 | 936 | 543 | 190 | 129 | 95 | 76 | 77 | 26431 | 893 | 781 | 521 | 130 | 92 | 79 | 76 | 79 | 24495 | 196 | 191 | 203 | 186 | 154 | 106 | 89 | 80 | 24508 | 206 | 212 | 195 | 199 | 174 | 115 | 90 | 79 | 23652
21 | 1200.125 | 25 | 739 | 943 | 567 | 194 | 129 | 94 | 80 | 76 | 26420 | 904 | 796 | 535 | 136 | 91 | 79 | 76 | 81 | 24585 | 203 | 199 | 211 | 189 | 153 | 109 | 90 | 79 | 24563 | 212 | 219 | 198 | 208 | 181 | 116 | 92 | 88 | 23637
22 | 1260.13 | 25.1 | 745 | 967 | 577 | 192 | 129 | 95 | 80 | 77 | 26348 | 922 | 815 | 550 | 139 | 91 | 78 | 75 | 78 | 24639 | 206 | 206 | 214 | 194 | 161 | 109 | 90 | 80 | 24564 | 217 | 227 | 205 | 211 | 185 | 119 | 92 | 90 | 23695
23 | 1320.138 | 25 | 754 | 975 | 592 | 202 | 132 | 96 | 78 | 78 | 26552 | 924 | 814 | 557 | 140 | 93 | 79 | 75 | 81 | 24585 | 210 | 209 | 222 | 202 | 163 | 111 | 92 | 80 | 24557 | 224 | 231 | 211 | 219 | 192 | 121 | 93 | 86 | 23691
24 | 1380.14 | 25 | 765 | 996 | 601 | 208 | 134 | 96 | 78 | 76 | 26576 | 937 | 826 | 573 | 145 | 97 | 78 | 75 | 74 | 24568 | 218 | 215 | 227 | 209 | 167 | 112 | 93 | 82 | 24410 | 233 | 237 | 218 | 225 | 194 | 124 | 94 | 86 | 23645
25 | 1440.154 | 25.1 | 768 | 1006 | 616 | 211 | 134 | 96 | 80 | 77 | 26395 | 939 | 833 | 587 | 149 | 94 | 79 | 77 | 77 | 24482 | 224 | 225 | 235 | 213 | 171 | 116 | 92 | 82 | 24614 | 235 | 243 | 226 | 231 | 199 | 124 | 94 | 88 | 23541
26 | 1500.168 | 25 | 777 | 1020 | 628 | 212 | 133 | 94 | 77 | 76 | 26323 | 954 | 846 | 600 | 151 | 96 | 78 | 77 | 77 | 24543 | 228 | 227 | 241 | 216 | 175 | 116 | 96 | 82 | 24414 | 243 | 253 | 228 | 236 | 201 | 125 | 95 | 82 | 23562
27 | 1560.172 | 25.1 | 777 | 1030 | 647 | 220 | 134 | 94 | 76 | 79 | 26308 | 955 | 858 | 608 | 155 | 96 | 78 | 76 | 79 | 24546 | 233 | 238 | 248 | 222 | 180 | 117 | 92 | 82 | 24570 | 249 | 258 | 233 | 240 | 208 | 128 | 96 | 81 | 23612
28 | 1620.186 | 25.1 | 778 | 1042 | 658 | 223 | 137 | 97 | 77 | 77 | 26403 | 971 | 853 | 627 | 158 | 97 | 81 | 76 | 77 | 24564 | 243 | 239 | 252 | 231 | 181 | 119 | 94 | 80 | 24674 | 257 | 261 | 240 | 248 | 212 | 131 | 98 | 85 | 23559
29 | 1680.188 | 25.1 | 779 | 1046 | 665 | 231 | 138 | 100 | 78 | 80 | 26423 | 984 | 861 | 638 | 160 | 96 | 80 | 76 | 81 | 24555 | 250 | 247 | 258 | 234 | 187 | 122 | 94 | 81 | 24502 | 262 | 269 | 246 | 250 | 215 | 134 | 96 | 82 | 23606
30 | 1740.188 | 25.1 | 789 | 1053 | 675 | 231 | 139 | 98 | 77 | 79 | 26504 | 978 | 874 | 648 | 163 | 96 | 80 | 77 | 77 | 24537 | 252 | 252 | 265 | 239 | 191 | 123 | 98 | 82 | 24538 | 267 | 272 | 251 | 260 | 218 | 135 | 98 | 82 | 23566
31 | 1800.197 | 25.1 | 786 | 1069 | 684 | 239 | 139 | 98 | 77 | 78 | 26343 | 985 | 876 | 652 | 168 | 100 | 79 | 77 | 79 | 24516 | 258 | 254 | 271 | 243 | 193 | 125 | 98 | 83 | 24345 | 272 | 282 | 252 | 260 | 224 | 134 | 102 | 78 | 23395
32 | 1860.2 | 25 | 793 | 1071 | 697 | 246 | 142 | 94 | 76 | 76 | 26425 | 995 | 880 | 666 | 169 | 100 | 78 | 77 | 76 | 24575 | 261 | 263 | 274 | 248 | 196 | 125 | 98 | 84 | 24339 | 278 | 284 | 259 | 265 | 228 | 137 | 98 | 83 | 23394
33 | 1920.205 | 25 | 794 | 1086 | 702 | 245 | 143 | 99 | 75 | 76 | 26005 | 989 | 875 | 668 | 172 | 99 | 79 | 75 | 79 | 24289 | 264 | 266 | 278 | 254 | 200 | 128 | 97 | 84 | 24431 | 281 | 287 | 265 | 271 | 231 | 141 | 102 | 90 | 23492
34 | 1980.219 | 25.1 | 796 | 1087 | 713 | 249 | 143 | 96 | 77 | 77 | 26271 | 991 | 886 | 686 | 174 | 103 | 79 | 74 | 78 | 24486 | 271 | 270 | 286 | 260 | 202 | 131 | 97 | 81 | 24431 | 287 | 296 | 268 | 278 | 235 | 145 | 102 | 79 | 23499
35 | 2040.235 | 25 | 800 | 1080 | 716 | 254 | 143 | 98 | 81 | 76 | 26242 | 992 | 899 | 689 | 181 | 103 | 79 | 77 | 76 | 24313 | 277 | 275 | 290 | 260 | 205 | 131 | 100 | 83 | 24455 | 291 | 302 | 273 | 283 | 239 | 148 | 103 | 83 | 23466
36 | 2100.235 | 25 | 797 | 1095 | 730 | 258 | 143 | 96 | 78 | 78 | 26307 | 997 | 894 | 696 | 179 | 103 | 79 | 75 | 77 | 24359 | 284 | 281 | 297 | 268 | 209 | 135 | 99 | 82 | 24321 | 299 | 303 | 280 | 289 | 246 | 145 | 102 | 80 | 23348
37 | 2160.241 | 25.1 | 796 | 1099 | 734 | 263 | 146 | 99 | 80 | 80 | 26261 | 996 | 892 | 708 | 183 | 105 | 80 | 75 | 76 | 24330 | 287 | 286 | 298 | 275 | 213 | 137 | 99 | 83 | 24250 | 302 | 311 | 285 | 291 | 248 | 147 | 103 | 81 | 23350
38 | 2220.254 | 25.1 | 799 | 1096 | 747 | 266 | 148 | 100 | 76 | 79 | 26403 | 999 | 888 | 718 | 185 | 103 | 80 | 74 | 76 | 24501 | 292 | 289 | 306 | 275 | 215 | 138 | 100 | 85 | 24247 | 303 | 318 | 288 | 299 | 253 | 148 | 102 | 78 | 23396
39 | 2280.263 | 25 | 802 | 1109 | 753 | 272 | 148 | 98 | 77 | 80 | 26270 | 1006 | 900 | 715 | 189 | 102 | 79 | 74 | 75 | 24473 | 295 | 295 | 310 | 282 | 220 | 140 | 102 | 83 | 24328 | 307 | 321 | 289 | 304 | 258 | 150 | 103 | 79 | 23322
40 | 2340.267 | 25.1 | 801 | 1106 | 756 | 273 | 153 | 100 | 81 | 78 | 26177 | 1000 | 905 | 725 | 193 | 106 | 80 | 74 | 77 | 24334 | 300 | 300 | 319 | 289 | 225 | 141 | 100 | 82 | 24590 | 316 | 328 | 298 | 307 | 258 | 151 | 105 | 77 | 23337
41 | 2400.273 | 25.1 | 803 | 1108 | 762 | 278 | 148 | 103 | 79 | 81 | 26291 | 1008 | 903 | 734 | 193 | 108 | 80 | 74 | 77 | 24445 | 303 | 308 | 316 | 292 | 225 | 143 | 103 | 83 | 24337 | 321 | 330 | 301 | 311 | 260 | 158 | 105 | 78 | 23336
42 | 2460.286 | 25 | 797 | 1109 | 758 | 280 | 154 | 99 | 80 | 76 | 26293 | 1010 | 895 | 735 | 198 | 108 | 78 | 74 | 76 | 24319 | 307 | 310 | 326 | 295 | 229 | 144 | 105 | 85 | 24425 | 328 | 337 | 305 | 317 | 267 | 157 | 106 | 77 | 23405
43 | 2520.286 | 25 | 801 | 1115 | 771 | 289 | 148 | 98 | 78 | 76 | 26361 | 1005 | 899 | 736 | 200 | 105 | 80 | 78 | 77 | 24369 | 313 | 312 | 332 | 302 | 232 | 145 | 105 | 84 | 24358 | 332 | 340 | 310 | 320 | 266 | 157 | 105 | 80 | 23257
44 | 2580.305 | 25.1 | 801 | 1105 | 781 | 285 | 153 | 99 | 75 | 76 | 26229 | 1005 | 904 | 742 | 203 | 110 | 81 | 77 | 77 | 24325 | 323 | 319 | 334 | 304 | 233 | 148 | 104 | 85 | 24528 | 337 | 344 | 314 | 328 | 273 | 160 | 109 | 78 | 23329
45 | 2640.319 | 25 | 799 | 1115 | 785 | 295 | 150 | 101 | 79 | 76 | 26194 | 1005 | 910 | 751 | 205 | 109 | 81 | 77 | 76 | 24383 | 322 | 323 | 341 | 308 | 238 | 148 | 104 | 85 | 24332 | 340 | 348 | 318 | 329 | 278 | 162 | 107 | 78 | 23353
46 | 2700.329 | 25 | 799 | 1124 | 790 | 303 | 154 | 99 | 78 | 78 | 26337 | 1008 | 906 | 754 | 207 | 108 | 81 | 75 | 75 | 24446 | 326 | 329 | 344 | 312 | 241 | 150 | 105 | 85 | 24425 | 346 | 354 | 324 | 332 | 281 | 163 | 108 | 79 | 23329
47 | 2760.329 | 25 | 797 | 1118 | 788 | 300 | 154 | 106 | 79 | 77 | 26242 | 1005 | 899 | 764 | 213 | 110 | 81 | 75 | 78 | 24325 | 334 | 330 | 348 | 319 | 243 | 152 | 109 | 85 | 24464 | 346 | 360 | 326 | 338 | 284 | 167 | 109 | 78 | 23315
48 | 2820.344 | 25 | 799 | 1117 | 794 | 305 | 151 | 101 | 76 | 74 | 26297 | 1007 | 910 | 767 | 215 | 110 | 81 | 76 | 78 | 24288 | 334 | 335 | 353 | 319 | 249 | 154 | 107 | 83 | 24314 | 353 | 368 | 331 | 342 | 286 | 166 | 110 | 77 | 23367
49 | 2880.356 | 25.1 | 794 | 1120 | 797 | 307 | 160 | 101 | 81 | 78 | 26245 | 1006 | 902 | 770 | 217 | 113 | 79 | 76 | 74 | 24290 | 338 | 340 | 361 | 322 | 251 | 155 | 107 | 83 | 24212 | 356 | 370 | 337 | 347 | 290 | 166 | 110 | 80 | 23152
50 | 2940.358 | 25.1 | 797 | 1114 | 796 | 312 | 158 | 99 | 78 | 75 | 26251 | 1010 | 906 | 777 | 219 | 112 | 81 | 75 | 75 | 24162 | 340 | 345 | 361 | 329 | 254 | 157 | 107 | 83 | 24411 | 363 | 370 | 344 | 351 | 296 | 169 | 111 | 78 | 23186
51 | 3000.374 | 25 | 797 | 1123 | 806 | 312 | 159 | 102 | 80 | 81 | 26237 | 1011 | 905 | 778 | 221 | 112 | 79 | 74 | 73 | 24341 | 346 | 348 | 363 | 333 | 256 | 159 | 108 | 83 | 24363 | 364 | 374 | 339 | 352 | 302 | 173 | 108 | 82 | 23384
52 | 3060.376 | 25 | 795 | 1121 | 809 | 320 | 159 | 100 | 78 | 77 | 26311 | 1003 | 903 | 781 | 223 | 114 | 79 | 74 | 75 | 24305 | 353 | 354 | 370 | 336 | 259 | 160 | 109 | 85 | 24471 | 368 | 377 | 345 | 355 | 301 | 173 | 110 | 79 | 23228
53 | 3120.39 | 25.1 | 790 | 1115 | 808 | 324 | 156 | 100 | 81 | 75 | 26326 | 998 | 907 | 786 | 225 | 113 | 85 | 76 | 76 | 24383 | 354 | 357 | 379 | 340 | 262 | 160 | 111 | 86 | 24315 | 369 | 380 | 348 | 365 | 303 | 176 | 115 | 78 | 23179
54 | 3180.403 | 25 | 796 | 1130 | 820 | 328 | 163 | 101 | 82 | 78 | 25974 | 1003 | 904 | 787 | 227 | 113 | 79 | 75 | 73 | 24230 | 356 | 361 | 380 | 342 | 262 | 163 | 110 | 84 | 24336 | 375 | 386 | 351 | 365 | 307 | 176 | 112 | 77 | 23218
55 | 3240.412 | 25 | 792 | 1124 | 812 | 336 | 164 | 98 | 75 | 74 | 26188 | 1001 | 892 | 795 | 232 | 116 | 83 | 73 | 75 | 24365 | 367 | 360 | 380 | 349 | 267 | 164 | 108 | 83 | 24410 | 376 | 390 | 355 | 368 | 306 | 179 | 113 | 79 | 23286
56 | 3300.423 | 25.1 | 790 | 1120 | 816 | 333 | 162 | 102 | 76 | 75 | 26235 | 987 | 902 | 789 | 233 | 115 | 82 | 77 | 74 | 24237 | 365 | 367 | 384 | 348 | 274 | 165 | 112 | 83 | 24331 | 379 | 396 | 357 | 373 | 313 | 176 | 112 | 79 | 23209
57 | 3360.431 | 25 | 789 | 1121 | 822 | 336 | 161 | 100 | 77 | 77 | 26214 | 991 | 900 | 791 | 233 | 115 | 79 | 73 | 74 | 24280 | 368 | 370 | 388 | 354 | 271 | 167 | 112 | 84 | 24223 | 384 | 397 | 362 | 376 | 317 | 177 | 115 | 77 | 23184
58 | 3420.436 | 25 | 785 | 1123 | 821 | 340 | 163 | 100 | 78 | 78 | 26230 | 998 | 904 | 799 | 236 | 116 | 81 | 73 | 74 | 24233 | 369 | 373 | 393 | 358 | 275 | 167 | 113 | 85 | 24245 | 387 | 401 | 366 | 379 | 320 | 182 | 114 | 77 | 23268
59 | 3480.439 | 25.1 | 786 | 1128 | 824 | 347 | 166 | 101 | 75 | 77 | 26378 | 1001 | 892 | 799 | 240 | 116 | 82 | 73 | 73 | 24284 | 371 | 380 | 399 | 359 | 277 | 169 | 112 | 83 | 24194 | 392 | 402 | 365 | 383 | 325 | 183 | 116 | 81 | 23150
60 | 3540.45 | 25.2 | 786 | 1120 | 824 | 349 | 169 | 103 | 78 | 78 | 26324 | 993 | 896 | 795 | 243 | 116 | 83 | 74 | 75 | 24296 | 376 | 383 | 402 | 366 | 282 | 171 | 114 | 82 | 24461 | 395 | 411 | 370 | 386 | 326 | 186 | 115 | 79 | 23129
End Time |  |  | E2: 2022-09-06 18:06:14